## Volt & Current Meter Resistors
Voltage Dropping and Current Shunt Resistor Calculator | Enter known values in the Green and Violet Cells
Companion to www.neatcircuits.com meter page (see the link below).
Current Meter Calculations (Resistor in Parallel)
Enter Panel Meter Full Scale Current | 0.001 | Amps
Enter Desired Full scale Current | 1 | Amps
Enter Panel Meter Internal Resistance | 100 | Ohms
Results
Calculated Shunt Resistance | 0.1001 | Ohms
Calculated Required Shunt Power (100% over rating) | 200.2002 | milliwatts
| 0.2002 | Watts
Voltmeter Calculations (Resistor in Series)
Enter Panel Meter Full Scale Current | 0.001 | Amps
Enter Desired Full scale Voltage | 100 | Volts
Enter Panel Meter Internal Resistance | 100 | Ohms
Results
Calculated Voltage Dropping Resistor | 99900 | Ohms
Calculated Required Resistor Power (100% over rating) | 199.8 | milliwatts
| 0.1998 | Watts
This spreadsheet courtesy of W3OHM
Last Updated: 7-SEP-2020
Go to the link below for details:
https://www.neatcircuits.com/meter-mult.htm
For a great program for printing custom meter scales see:
www.tonnesoftware.com
Below is an example of a scale you can create with the meter scale program. This one was designed
to fit (when printed by the meter program) to fix SD-670 meter movements you can find on eBay.
With meter you can make a scale to fit any size meter plate and print it on your laser or inkjet printer.
More complex meter scales are possible, even ones that have arbitrary values to make your own scale.